## POW (hidden)
Project Name: | Proposed /Construction of Adidtional Footing/ Column & Beam for Archbishop's Palace
Location: | D. Jakosalem St., Cebu City
PROGRAM OF WORKS (POW)
ITEM NO. | DESCRIPTION | QUANTITY | UNIT | UNIT COST | AMOUNT | MATERIALS | EQUIPMENT | MANPOWER | M/D | OCM | PROFIT | VAT (Excluded M/D) | TOTAL AMOUNT
ITEMS FROM BILL OF QUANTITIES (BOQ) | [8 empty] | 1% | 12% | 8% | 5%
I. | General Requirements
I.1 | Health & Safety | 6 | months | 4200 | 25200 | 24000 | 0 | 0 | 0 | 0 | 0 | 1200 | 25200
I.2 | Material Testing | 1 | lot | 12600 | 12600 | 10000 | 0 | 0 | 0 | 1200 | 800 | 600 | 12600
II. | Site Works |  |  |  | 0 |  |  |  | 0 | 0 | 0 | 0 | 0
II.1 | Site Lay-out/Clearing & Grubbing | 1 | lot | 31750 | 31750 | 0 | 2000 | 23000 | 250 | 3000 | 2000 | 1500 | 31750
II.2 | Demolition & Restoration | 91.9989 | sq.m. | 746.115 | 68641.7585 | 0 | 32900 | 21148.6287 | 540.4863 | 6485.8354 | 4323.8903 | 3242.9177 | 68641.7585
II.3 | Excavation | 173.2608 | cu.m. | 948.2667 | 164297.4413 | 0 | 25411.584 | 103956.48 | 1293.6806 | 15524.1677 | 10349.4451 | 7762.0838 | 164297.4413
II.4 | Backfill & Fill | 170.3808 | cu.m. | 716.8444 | 122136.5299 | 0 | 28018.176 | 68152.32 | 961.705 | 11540.4595 | 7693.6397 | 5770.2298 | 122136.5299
II.5 | Temporary Fence | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
III. | Formworks & Scaffoldings (Rental) | 6 | months | 15750 | 94500 | 90000 | 0 | 0 | 0 | 0 | 0 | 4500 | 94500
IV. | Concrete Works |  |  |  | 0 |  |  |  | 0 | 0 | 0 | 0 | 0
IV.1 | Fabrication of Reinforcing Bars for Footing, Columns & Beams | 1 | lot | 500000 | 500000 | 1280000 | 19000.788 | 247500 | 15465.0079 | 185580.0946 | 123720.063 | 92790.0473 | 1964056.0008
IV.2 | Cast-in-place Concrete (3000 psi) for Footing, Columns & Beams | 187.6462 | cu.m. | 11706.5024 | 2196680.9756 | 1255208.8595 | 227711.2 | 246750 | 17296.7006 | 207560.4071 | 138373.6048 | 103780.2036 | 2196680.9756
IV.3 | Plastering | 208.9752 | sq.m. | 1276.4849 | 266753.6829 | 113870 | 9970 | 86202.27 | 2100.4227 | 25205.0724 | 16803.3816 | 12602.5362 | 266753.6829
V. | Masonry Works |  |  |  | 0 |  |  |  | 0 | 0 | 0 | 0 | 0
V.1 | 6" Concrete Hollow Blocks | 203.6475 | sq.m. | 1155.3113 | 235276.2511 | 54050 | 5200 | 126006.8906 | 1852.5689 | 22230.8269 | 14820.5513 | 11115.4134 | 235276.2511
V.2 | 4" Concrete Hollow Blocks | 269.325 | sq.m. | 1001.356 | 269690.215 | 69250 | 2772 | 140332.5 | 2123.545 | 25482.54 | 16988.36 | 12741.27 | 269690.215
V.3 | Plastering | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
VI. | Ceiling Works | 202.923 | sq.m. | 1527.0401 | 309871.5672 | 160086.16 | 9657.2 | 74250 | 2439.9336 | 29279.2032 | 19519.4688 | 14639.6016 | 309871.5672
VII. | Roofing Works |  |  |  | 0 |  |  |  | 0 | 0 | 0 | 0 | 0
VII.1 | Trussess | 219.605 | ln.m. | 821.6875 | 180446.68 | 54484 | 28200 | 59400 | 1420.84 | 17050.08 | 11366.72 | 8525.04 | 180446.68
VII.2 | Corrugated G.I. Sheet Guage 22 | 199.2167 | sq.m. | 1329.4522 | 264849.102 | 115875 | 6000 | 86667.6 | 2085.426 | 25025.112 | 16683.408 | 12512.556 | 264849.102
VIII. | Painting Works (Exclusive of Ceiling) | 1 | lot | 381000 | 381000 | 300000 | 0 | 0 | 3000 | 36000 | 24000 | 18000 | 381000
TOTAL CONSTRUCTION COST: |  |  |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!

## BOQ
Project Name: | Proposed /Construction of 3 Storey 342 square meter Apartment Building
Location: | Brgy. Lamac, Consolacion, Cebu
Contractor: | EIDOX Development
BILL OF QUANTITIES (BOQ)
ITEM NO. | DESCRIPTION | QUANTITY | UNIT | UNIT COST | AMOUNT
I. | General Requirements
A.1 | Mobilization/Demobilization | 1 | lot | 165000 | 165000
| Project Billboard and Signages | 1 | lot | 18000 | 18000
| Health and Safety | 10 | months | 12000 | 120000
| Personal Protective Equipment (PPE) | 1 | lot | 30000 | 30000
| Safety Signages and Barricades | 1 | lot | 18000 | 18000
| First Aid Kit and Emergency Kit | 1 | lot | 15000 | 15000
| Monthly Safety and Security Officer Fee | 10 | months | 8700 | 57000
A.2 | Material Testing | 1 | lot | 55000 | 55000
A.3 | Temporary Facilities | 10 | months |  | 100000
| Contractor's Field Office | 10 | months | 50000 | -
| Temporary Water and Electricity | 10 | months | 30000 | -
| Toilet Facilities (portalets) | 10 | months | 15000 | -
| Material Stockpile Area | 1 | lot | 5000 | -
A.4 | Permits and Clearances | 1 | lot |  | 95000
| Building Permit | 1 | lot | 45000 | -
| Electrical Permit | 1 | lot | 20000 | -
| Mechanical Permit | 1 | lot | 15000 | -
| Sanitary/Plumbing Permit | 1 | lot | 15000 | -
-
A.5 | Project Close-out and Turnover | 1 | lot | 25000 | 25000
-
| Site Works |  |  |  | -
| Site Lay-out/Clearing & Grubbing | 121 | sq.m. | 90 | 10800
| Staking and Lay-out | 1 | lot | 15000 | 15000
| Excavation | 105 | cu.m. | 580 | 60900
| Backfill & Compaction | 85 | cu.m. | 400 | 34000
| Gravel Bedding | 17 | cu.m. | 1700 | 28900
| Temporary Fencing | 50 | lnm | 1000 | 50000
| Formworks & Scaffoldings (Rental) | 10 | months | 40000 | 400000
| Concrete Works |  |  |  | -
| Fabrication of Reinforcing Bars for Footing, Columns & Beams | 15.5 | tons | 56500 | 875750
| Cast-in-place Concrete (3000 psi) for Footing, Columns & Beams | 178 | cu.m. | 5600 | 996800
| Plastering | 1900 | sq.m. | 280 | 532000
| Concrete Placement Labor | 175 | cu.m. | 850 | 148750
| Pumping Labor | 1 | lot | 26000 | 26000
| Labor for Pouring and Finishing | 175 | cu.m. | 650 | 113750
| Curing Compund and Curing Labor | 1 | lot | 19000 | 19000
| Masonry Works incuding partition |  |  |  | -
| 4" Concrete Hollow Blocks (CHB) | 1000 | sq.m. | 748.725 | 748725
| 4" CHB (load bearing) | 4450 | pcs. | 102350 | -
| Cement for Mortar | 265 | bags | 70225 | -
| Sand for Mortar | 30 | cu.m. | 37500 | -
| 10mm Horizontal Reinforcement | 1.05 | tons | 57325 | -
| Vertical Reinforcement Bars | 0.85 | tons | 46325 | -
| Mason Labor | 1000 | sq.m. | 290000 | -
| Helper Labor | 1000 | sq.m. | 145000 | -
| CHB Plastering (Both Sides) | 1900 | sq.m. | 280 | 532100
| Cement for Plaster | 340 | bags | 90100 | -
| Sand for Plaster | 42 | cu.m. | 52500 | -
| Plasterer Labor | 1900 | sq.m. | 256500 | -
| Helper Labor | 1900 | sq.m. | 133000 | -
| Architectural Works |  |  |  | -
| Flooring Works | 390 | sq.m. | 720 | 328600
| Homogenous Tiles 600x600mm/units | 290 | sq.m. | 127600 | -
| Non-slip Tiles Roofdeck and Bath | 100 | sq.m. | 50000 | -
| Tile Adhesive and Grout | 1 | lot | 34000 | -
| Tilesetter Labor | 390 | sq.m. | 117000 | -
| Ceiling Works | 370 | sq.m. | 580 | 243300
| PVC ceiling boards (6mm thk) | 400 | sq.m. | 136000 | -
| Ceiling Frameworks (metal furrings) | 370 | sq.m. | 59200 | -
| Ceiling Installation Labor | 370 | sq.m. | 48100 | -
| Window Works (Jalousie Type) |  |  |  | 110040
| Aluminum Frame Jalousie Windows | 22 | units | 83600 | -
| Annealed Glass Bronze | 38 | pcs | 13680 | -
| Installation Labor | 22 | units | 12760 | -
| Doors |  |  |  | 147200
| Panel Doors (.90mx2.10m) unit doors | 12 | sets | 42000 | -
| Common Area Doors (1.00mx2.10m) | 5 | sets | 21000 | -
| Bathroom Doors | 5 | sets | 16000 | -
| Door Jambs and Hardware | 22 | sets | 50600 | -
| Installation Labor | 22 | s | 17600 | -
| Painting Works | 1 | lot | 381000 | 381000
| Interior Wall Paint (latesx,premium) | 44 | gallons | 83600 | -
| Exterior Wall Paint (acrylic) | 31 | gallons | 71300 | -
| Ceiling Paint | 20 | gallons | 34000 | -
| Painting Materials | 1 | lot | 10000 | -
| Painter Labor | 1 | lot | 50000 | -
| Roofdeck Waterproofing | 95 | sq.m. | 720 | 68400
| Liquid Membrane (2 coats) | 95 | sq.m. | 47500 | -
| Application Labor | 95 | sq.m. | 20900 | -
| Handrails and Balustrades | 45 | ln.m. | 1950 | 87750
| 50mm MS Pipe Handrail w/ Balusters | 45 | ln.m. | 76500 | -
| Fabrication and Installation Labor | 45 | ln.m. | 21600 | -
| Plumbing Works | 1 | lot | 720000 | 720000
| Water Supply System | 1 | lot | 125000 | -
| PVC pipes (1/2,3/4,1) | 1 | lot | 67000 | -
| Fittings and Valves | 1 | lot | 26000 | -
| Water Tanks (2 units 2000 liters each) | 2 | units | 18000 | -
| Water Pump (1.5 HP)& Pressure Tank | 1 | sets | 23000 | -
| Installation Labor | 1 | lot | 20000 | -
| Sanitary and Drainage System | 1 | lot | 173000 | -
| PVC pipes (4,3,2) | 1 | lot | 48000 | -
| Fittings and Cleanouts | 1 | lot | 25000 | -
| Toilet Bowls and Flush Tanks (10 sets) | 10 | sets | 55000 | -
| Lavatories and Faucets (10 sets) | 10 | sets | 38000 | -
| Installation Labor | 1 | lot | 30000 | -
| Storm Drainage | 1 | lot | 36000 | -
| Gutters and Downspouts | 1 | lot | 21000 | -
| Installation Labor | 1 | lot | 15000 | -
| Electrical Works | 10 | units | 79816 | 798160
| Panel Boards and Breakers | 1 | lot | 52000 | -
| Main Panel Board (30 circuits) | 1 | units | 24000 | -
| Sub Panel Boards (3 units) | 3 | units | 18000 | -
| Main Breaker (125 AT, 2P) | 1 | units | 7000 | -
| Branch Breakers (20AT,2P) | 22 | units | 8800 | -
| Wires and conduits | 1 | lot | 155000 | -
| THHN Wires (2.0mm², 3.5mm², 5.5mm², 8.0mm² | 1 | lot | 102000 | -
| PVC Conduits (½", ¾", 1") | 1 | lot | 37000 | -
| Junction Boxes and Accesories | 1 | lot | 16000 | -
| Wiring Devices | 1 | lot | 39000 | -
| Convenience Outlets | 48 | pcs | 18240 | -
| Switches (singel/double) | 44 | pcs | 10560 | -
| Utility Boxes and Plates | 1 | lot | 10200 | -
| Lighting Fixtures | 1 | lot | 48000 | -
| Ceiling Lights (6') | 52 | pcs | 35360 | -
| Exterior Lights | 12 | pcs | 10800 | -
| Emergency Lights | 6 | pcs | 4200 | -
| ACU Rough In and Ventilation | 1 | lot | 45000 | -
| ACU Outlet Rough In (10 units) | 10 | pcs | 22000 | -
| Exhaust Fans (Bathrooms) | 12 | pcs | 21600 | -
| Ventilation Labor | 1 | lot | 1400 | -
| Electrical Installation Labor | 1 | lot | 112000 | -
| Roofing Works (half only) | 1 | lot | 207500 | 207500
| Steel Angle Bars (50mm x 50mm x 6mm | 1 | tons | 59000 | -
| C-Purlins (50mm x 75mm x 1.2mm | 0.7 | tons | 41300 | -
| Welding Rods and Consumables | 1 | lot | 10700 | -
| Fabrication and Installation Labor | 1 | lot | 9000 | -
| Corrugated G.I. Sheets (Gauge 22 | 135 | sq.m. | 64800 | -
| Tek Screws & Accessories | 1 | lot | 6500 | -
| Installation Labor | 135 | sq.m. | 16200 | -
External Works
| Perimeter Fencing | 50 | ln.m. | 1950 | 97500
| CHB Fence with Concrete Posts | 50 | ln.m. | 80000 | -
| Installation Labor | 50 | ln.m. | 17500 | -
| Gate | 1 | units | 25000 | 25000
| Steel Gate (4.0m width, with slide | 1 | units | 20000 | -
| Installation and Hardware | 1 | units | 5000 | -
| Concrete Pavement/Walkway | 50 | sq.m. | 5000 | 51900
| Gravel Base | 50 | sq.m. | 10400 | -
| Concrete Pavement (100mm thick) | 50 | sq.m. | 34000 | -
| Labor | 50 | sq.m. | 7500 | -
TOTAL CONSTRUCTION COST: |  |  |  |  | 8556825
|  |  |  | Discounted Price: (Minus 3% from OCM) | 8300120.25
Price Per Unit: 24,269.00
Total Area: 342 square meters
Jaime Bernardo Tumulak
President

## I.1
Project Name: | Proposed /Construction of Adidtional Footing/ Column & Beam for Archbishop's Palace
Location: | D. Jakosalem St., Cebu City
Item No.: | I.
Item of Works: | General Requirements
Sub-Item No.: | 0
Sub-Item of Works: | Project Billboard and Signages
Quatity: | 6 | Unit: | months
Detailed Unit Price Analysis:
A. MATERIALS
DESCRIPTION |  | QUANTITY | UNIT | UNIT COST | AMOUNT
Consumables includes Safety Gloves, Safety Googles, Harness, and other Protective & Safety Equipments) |  | 8 | months | 3000 | 24000
Total Materials Cost: |  |  |  |  | 24000
B. EQUIPMENT
DESCRIPTION |  | QTY | RATE/DAY | NO. OF DAYS | AMOUNT
Service Truck with Driver |  | 1 | 2000 | 0 | 0
Total Equipment Cost: |  |  |  |  | 0
C. MANPOWER
DESCRIPTION |  | QTY | RATE/DAY | NO. OF DAYS | AMOUNT
Total Manpower Cost: |  |  |  |  | 0
TOTAL DIRECT COST (A+B+C): |  |  |  |  | 24000
D. Mobilization/Demobilization |  |  | 1% | of Direct Cost | 0
E. Overhead, Miscellaneous & Contingencies (OCM) |  |  | 12% | of Direct Cost | 0
F. Contractor's Profit |  |  | 8% | of Direct Cost | 0
G. VAT |  |  | 5% | of (DC+OCM+CP) | 1200
TOTAL INDIRECT COST: |  |  |  |  | 1200
TOTAL CONSTRUCTION COST: |  |  |  |  | 25200
Unit Cost: |  |  |  |  | 4200

## I.2
Project Name: | Proposed /Construction of Adidtional Footing/ Column & Beam for Archbishop's Palace
Location: | D. Jakosalem St., Cebu City
Item No.: | 0
Item of Works: | Site Works
Sub-Item No.: | A.2
Sub-Item of Works: | Material Testing
Quatity: | 1 | Unit: | lot
Detailed Unit Price Analysis:
A. MATERIALS
DESCRIPTION |  | QUANTITY | UNIT | UNIT COST | AMOUNT
Material Testing |  | 1 | lot | 10000 | 10000
Total Materials Cost: |  |  |  |  | 10000
B. EQUIPMENT
DESCRIPTION |  | QTY | RATE/DAY | NO. OF DAYS | AMOUNT
Total Equipment Cost: |  |  |  |  | 0
C. MANPOWER
DESCRIPTION |  | QTY | RATE/DAY | NO. OF DAYS | AMOUNT
Total Manpower Cost: |  |  |  |  | 0
TOTAL DIRECT COST (A+B+C): |  |  |  |  | 10000
D. Mobilization/Demobilization |  |  | 1% | of Direct Cost | 0
E. Overhead, Miscellaneous & Contingencies (OCM) |  |  | 12% | of Direct Cost | 1200
F. Contractor's Profit |  |  | 8% | of Direct Cost | 800
G. VAT |  |  | 5% | of (DC+OCM+CP) | 600
TOTAL INDIRECT COST: |  |  |  |  | 2600
TOTAL CONSTRUCTION COST: |  |  |  |  | 12600
Unit Cost: |  |  |  |  | 12600

## II.1
Project Name: | Proposed /Construction of Adidtional Footing/ Column & Beam for Archbishop's Palace
Location: | D. Jakosalem St., Cebu City
Item No.: | 0
Item of Works: | Site Works
Sub-Item No.: | 0
Sub-Item of Works: | Site Lay-out/Clearing & Grubbing
Quatity: | 1 | Unit: | lot
Detailed Unit Price Analysis:
A. MATERIALS
DESCRIPTION |  | QUANTITY | UNIT | UNIT COST | AMOUNT
Total Materials Cost: |  |  |  |  | 0
B. EQUIPMENT
DESCRIPTION |  | QTY | RATE/DAY | NO. OF DAYS | AMOUNT
Service Truck with Driver |  | 1 | 2000 | 5 | 10000
Minor Tools |  | 2 | 200 | 5 | 2000
Total Equipment Cost: |  |  |  |  | 2000
C. MANPOWER
DESCRIPTION |  | QTY | RATE/DAY | NO. OF DAYS | AMOUNT
Unskilled Labor |  | 4 | 450 | 5 | 9000
Total Manpower Cost: |  |  |  |  | 23000
TOTAL DIRECT COST (A+B+C): |  |  |  |  | 25000
D. Mobilization/Demobilization |  |  | 1% | of Direct Cost | 250
E. Overhead, Miscellaneous & Contingencies (OCM) |  |  | 12% | of Direct Cost | 3000
F. Contractor's Profit |  |  | 8% | of Direct Cost | 2000
G. VAT |  |  | 5% | of (DC+OCM+CP) | 1500
TOTAL INDIRECT COST: |  |  |  |  | 6750
TOTAL CONSTRUCTION COST: |  |  |  |  | 31750
Unit Cost: |  |  |  |  | 31750

## II.2
Project Name: | Proposed /Construction of Adidtional Footing/ Column & Beam for Archbishop's Palace
Location: | D. Jakosalem St., Cebu City
Item No.: | 0
Item of Works: | Site Works
Sub-Item No.: | 0
Sub-Item of Works: | Staking and Lay-out
Quatity: | 91.9989 | Unit: | sq.m.
Detailed Unit Price Analysis:
A. MATERIALS
DESCRIPTION |  | QUANTITY | UNIT | UNIT COST | AMOUNT
Total Materials Cost: |  |  |  |  | 0
B. EQUIPMENT
DESCRIPTION |  | QTY | RATE/DAY | NO. OF DAYS | AMOUNT
Jack Hammer |  | 1 | 2000 | 7 | 14000 | 0.0049917
Service Truck with Driver |  | 1 | 2000 | 7 | 14000 | -0.36149
Chipping Gun |  | 1 | 500 | 7 | 3500
Minor Tools |  | 1 | 200 | 7 | 1400
Total Equipment Cost: |  |  |  |  | 32900
C. MANPOWER
DESCRIPTION |  | QTY | RATE/DAY | NO. OF DAYS | AMOUNT
Foreman |  | 1 | 750 | 8.2936 | 6220.1849
Unskilled Labor |  | 4 | 450 | 8.2936 | 14928.4438
Total Manpower Cost: |  |  |  |  | 21148.6287
TOTAL DIRECT COST (A+B+C): |  |  |  |  | 54048.6287
D. Mobilization/Demobilization |  |  | 1% | of Direct Cost | 540.4863
E. Overhead, Miscellaneous & Contingencies (OCM) |  |  | 12% | of Direct Cost | 6485.8354
F. Contractor's Profit |  |  | 8% | of Direct Cost | 4323.8903
G. VAT |  |  | 5% | of (DC+OCM+CP) | 3242.9177
TOTAL INDIRECT COST: |  |  |  |  | 14593.1298
TOTAL CONSTRUCTION COST: |  |  |  |  | 68641.7585
Unit Cost: |  |  |  |  | 746.115 | 746.11 | 68642.12
Detailed Quantity Calculations:
Item No. | Description | No. of Units | No. of Sets | Length | Width/Area | Height | %Waste | Qty | Unit
0 | Site Works
0 | Staking and Lay-out | [6 empty] | 91.9989 | sq.m.
a. | Hallway | 1 | 2 | 15.5 | 1.5 | 1 | 1.05 | 48.825 | sq.m.
b. | Columns | 4 | 10 | 1.8 | 1.8 | 0.3 | 1.05 | 40.824 | sq.m.
c. | Wall | 1 | 1 | 7.46 | 1 | 0.3 | 1.05 | 2.3499 | sq.m.

## II.3
Project Name: | Proposed /Construction of Adidtional Footing/ Column & Beam for Archbishop's Palace
Location: | D. Jakosalem St., Cebu City
Item No.: | 0
Item of Works: | Site Works
Sub-Item No.: | 0
Sub-Item of Works: | Excavation
Quatity: | 173.2608 | Unit: | cu.m.
Detailed Unit Price Analysis:
A. MATERIALS
DESCRIPTION |  | QUANTITY | UNIT | UNIT COST | AMOUNT
Total Materials Cost: |  |  |  |  | 0
B. EQUIPMENT
DESCRIPTION |  | QTY | RATE/DAY | NO. OF DAYS | AMOUNT
Service Truck with Driver |  | 1 | 2000 | 11.5507 | 23101.44
Minor Tools |  | 1 | 200 | 11.5507 | 2310.144
Total Equipment Cost: |  |  |  |  | 25411.584
C. MANPOWER
DESCRIPTION |  | QTY | RATE/DAY | NO. OF DAYS | AMOUNT
Foreman |  | 1 | 750 | 34.6522 | 25989.12
Unskilled Labor |  | 5 | 450 | 34.6522 | 77967.36
Total Manpower Cost: |  |  |  |  | 103956.48
TOTAL DIRECT COST (A+B+C): |  |  |  |  | 129368.064
D. Mobilization/Demobilization |  |  | 1% | of Direct Cost | 1293.6806
E. Overhead, Miscellaneous & Contingencies (OCM) |  |  | 12% | of Direct Cost | 15524.1677
F. Contractor's Profit |  |  | 8% | of Direct Cost | 10349.4451
G. VAT |  |  | 5% | of (DC+OCM+CP) | 7762.0838
TOTAL INDIRECT COST: |  |  |  |  | 34929.3773
TOTAL CONSTRUCTION COST: |  |  |  |  | 164297.4413
Unit Cost: |  |  |  |  | 948.2667
Detailed Quantity Calculations:
Item No. | Description | No. of Units | No. of Sets | Length | Width/Area | Height | %Waste | Qty | Unit
0 | Site Works
0 | Excavation | [6 empty] | 173.2608 | cu.m.
a. | Area Surrounded by Columns | 8 | 3 | 1 | 3.15 | 2 | 1 | 151.2 | cu.m.
b. | Column | 8 | 2 | 0.3 | 0.3 | 2 | 1 | 2.88 | cu.m.
c. | Footing | 8 | 2 | 1.8 | 1.8 | 0.37 | 1 | 19.1808 | cu.m.

## II.4
Project Name: | Proposed /Construction of Adidtional Footing/ Column & Beam for Archbishop's Palace
Location: | D. Jakosalem St., Cebu City
Item No.: | 0
Item of Works: | Site Works
Sub-Item No.: | 0
Sub-Item of Works: | Backfill & Compaction
Quatity: | 170.3808 | Unit: | cu.m.
Detailed Unit Price Analysis:
A. MATERIALS
DESCRIPTION |  | QUANTITY | UNIT | UNIT COST | AMOUNT
Total Materials Cost: |  |  |  |  | 0
B. EQUIPMENT
DESCRIPTION |  | QTY | RATE/DAY | NO. OF DAYS | AMOUNT
Service Truck with Driver |  | 1 | 2000 | 7.5725 | 15144.96
Tampering Rammer/ Compactor |  | 1 | 1500 | 7.5725 | 11358.72
Minor Tools |  | 1 | 200 | 7.5725 | 1514.496
Total Equipment Cost: |  |  |  |  | 28018.176
C. MANPOWER
DESCRIPTION |  | QTY | RATE/DAY | NO. OF DAYS | AMOUNT
Foreman |  | 1 | 750 | 22.7174 | 17038.08
Unskilled Labor |  | 5 | 450 | 22.7174 | 51114.24
Total Manpower Cost: |  |  |  |  | 68152.32
TOTAL DIRECT COST (A+B+C): |  |  |  |  | 96170.496
D. Mobilization/Demobilization |  |  | 1% | of Direct Cost | 961.705
E. Overhead, Miscellaneous & Contingencies (OCM) |  |  | 12% | of Direct Cost | 11540.4595
F. Contractor's Profit |  |  | 8% | of Direct Cost | 7693.6397
G. VAT |  |  | 5% | of (DC+OCM+CP) | 5770.2298
TOTAL INDIRECT COST: |  |  |  |  | 25966.0339
TOTAL CONSTRUCTION COST: |  |  |  |  | 122136.5299
Unit Cost: |  |  |  |  | 716.8444
Detailed Quantity Calculations:
Item No. | Description | No. of Units | No. of Sets | Length | Width/Area | Height | %Waste | Qty | Unit
0 | Site Works
0 | Backfill & Compaction | [6 empty] | 170.3808 | cu.m.
a. | Area Surrounded by Columns | 8 | 3 | 1 | 3.15 | 2 | 1 | 151.2 | cu.m.
c. | Footing | 8 | 2 | 1.8 | 1.8 | 0.37 | 1 | 19.1808 | cu.m.

## III.
Project Name: | Proposed /Construction of Adidtional Footing/ Column & Beam for Archbishop's Palace
Location: | D. Jakosalem St., Cebu City
Item No.: | 0
Item of Works: | Formworks & Scaffoldings (Rental)
Quatity: | 6 | Unit: | months
Detailed Unit Price Analysis:
A. MATERIALS
DESCRIPTION |  | QUANTITY | UNIT | UNIT COST | AMOUNT
Formworks & Scaffoldings (Rental) |  | 6 | months | 15000 | 90000
Total Materials Cost: |  |  |  |  | 90000
B. EQUIPMENT
DESCRIPTION |  | QTY | RATE/DAY | NO. OF DAYS | AMOUNT
Total Equipment Cost: |  |  |  |  | 0
C. MANPOWER
DESCRIPTION |  | QTY | RATE/DAY | NO. OF DAYS | AMOUNT
Total Manpower Cost: |  |  |  |  | 0
TOTAL DIRECT COST (A+B+C): |  |  |  |  | 90000
D. Mobilization/Demobilization |  |  | 1% | of Direct Cost | 0
E. Overhead, Miscellaneous & Contingencies (OCM) |  |  | 12% | of Direct Cost | 0
F. Contractor's Profit |  |  | 8% | of Direct Cost | 0
G. VAT |  |  | 5% | of (DC+OCM+CP) | 4500
TOTAL INDIRECT COST: |  |  |  |  | 4500
TOTAL CONSTRUCTION COST: |  |  |  |  | 94500
Unit Cost: |  |  |  |  | 15750

## IV.1
Project Name: | Proposed /Construction of Adidtional Footing/ Column & Beam for Archbishop's Palace
Location: | D. Jakosalem St., Cebu City
Item No.: | 0
Item of Works: | Concrete Works
Sub-Item No.: | 0
Sub-Item of Works: | Fabrication of Reinforcing Bars for Footing, Columns & Beams
Quatity: | 1 | Unit: | lot
Detailed Unit Price Analysis:
A. MATERIALS
DESCRIPTION |  | QUANTITY | UNIT | UNIT COST | AMOUNT
25mm dia Def Bars, Grade 40 |  | 1 | lumpsum | 250000 | 250000
20mm dia Def Bars, Grade 40 |  | 1 | lumpsum | 250000 | 250000
16mm dia Def Bars, Grade 40 |  | 1 | lumpsum | 250000 | 250000
12mm dia Def Bars, Grade 40 |  | 1 | lumpsum | 250000 | 250000
10mm dia Def Bars, Grade 33 |  | 1 | lumpsum | 250000 | 250000
G.I. Tie Wire #16 |  | 10 | rolls | 3000 | 30000
Total Materials Cost: |  |  |  |  | 1280000
B. EQUIPMENT
DESCRIPTION |  | QTY | RATE/DAY | NO. OF DAYS | AMOUNT
Service Truck with Driver |  | 1 | 2000 | 2.5004 | 5000.788
Bar Cutter |  | 1 | 500 | 10 | 5000
Bar Bender |  | 1 | 500 | 10 | 5000
Minor Tools |  | 2 | 200 | 10 | 4000
Total Equipment Cost: |  |  |  |  | 19000.788
C. MANPOWER
DESCRIPTION |  | QTY | RATE/DAY | NO. OF DAYS | AMOUNT
Foreman |  | 1 | 750 | 22 | 16500
Skilled Labor |  | 10 | 600 | 22 | 132000
Unskilled Labor |  | 10 | 450 | 22 | 99000
Total Manpower Cost: |  |  |  |  | 247500
TOTAL DIRECT COST (A+B+C): |  |  |  |  | 1546500.788
D. Mobilization/Demobilization |  |  | 1% | of Direct Cost | 15465.0079
E. Overhead, Miscellaneous & Contingencies (OCM) |  |  | 12% | of Direct Cost | 185580.0946
F. Contractor's Profit |  |  | 8% | of Direct Cost | 123720.063
G. VAT |  |  | 5% | of (DC+OCM+CP) | 92790.0473
TOTAL INDIRECT COST: |  |  |  |  | 417555.2128 |  |  |  |  | 3428571.4286
TOTAL CONSTRUCTION COST: |  |  |  |  | 1964056.0008 |  | 500000
Unit Cost: |  |  |  |  | 1964056.0008 |  | 1464056.0008
Detailed Quantity Calculations:
Item No. | Description | No. of Units | No. of Sets | Length | Width/Area | Height/ Thickness | %Waste | Qty | Unit
0 | Fabrication of Reinforcing Bars for Footing, Columns & Beams
0 | 1 | [6 empty] | 192.0958 | cu.m. | 5100 | kg | 357000
a. | Footing | 8 | 2 | 1.8 | 1.8 | 0.37 | 1.03 | 19.7562 | cu.m. | 200 | kg
b. | Column1(above FFL) | 24 | 2 | 0.3 | 0.3 | 3 | 1.03 | 13.3488 | cu.m. | 450 | kg
c. | Column2 (below FFL) | 8 | 3 | 0.3 | 0.3 | 5 | 1.03 | 11.124 | cu.m. | 450 | kg
d. | Beams
c.1 | 2B1
| Grid 2- F to G | 1 | 4 | 0.25 | 0.5 | 6.5 | 1.03 | 3.3475 | cu.m. | 300 | kg
| Grid E-F | 2 | 4 | 0.3 | 0.6 | 4.02 | 1.03 | 5.9625 | cu.m. | 300 | kg
| Grid F-G | 2 | 4 | 0.3 | 0.6 | 4.11 | 1.03 | 6.096 | cu.m. | 300 | kg
| Grid G-H | 2 | 4 | 0.3 | 0.6 | 6.5 | 1.03 | 9.6408 | cu.m. | 300 | kg
c.2 | 2B2 | [9 empty] | kg
| Grid E | 2 | 2 | 0.25 | 0.5 | 1.5 | 1.03 | 0.7725 | cu.m. | 300 | kg
| Grid F | 2 | 2 | 0.25 | 0.5 | 1.5 | 1.03 | 0.7725 | cu.m. | 300 | kg
| Grid G | 2 | 2 | 0.25 | 0.5 | 1.5 | 1.03 | 0.7725 | cu.m. | 300 | kg
| Grid H | 2 | 2 | 0.25 | 0.5 | 1.5 | 1.03 | 0.7725 | cu.m. | 300 | kg
| Grid 2-G | 1 | 2 | 0.25 | 0.5 | 8.55 | 1.03 | 2.2016 | cu.m. | 300 | kg
| Grid 2-H | 1 | 2 | 0.25 | 0.5 | 8.55 | 1.03 | 2.2016 | cu.m. | 300 | kg
d. | Restoration of Demolished Areas
d.1 | Hallway | 1 | 1 | 15.5 | 1.5 | 0.15 | 1.03 | 3.5921 | cu.m. | 100 | kg
d.2 | Columns | 4 | 10 | 1.8 | 1.8 | 0.3 | 1.03 | 40.0464 | cu.m. | 450 | kg
d.3 | Suspended Slab | 1 | 1 | 30.13 | 11.55 | 0.2 | 1.03 | 71.6883 | cu.m. | 450 | kg
[7 empty] | 0 | sq.m. | lot area
[7 empty] | 0 |  | amount times 130 kg/cu.m.
0

## IV.2
Project Name: | Proposed /Construction of Adidtional Footing/ Column & Beam for Archbishop's Palace
Location: | D. Jakosalem St., Cebu City
Item No.: | 0
Item of Works: | Concrete Works
Sub-Item No.: | 0
Sub-Item of Works: | Cast-in-place Concrete (3000 psi) for Footing, Columns & Beams
Quatity: | 187.6462 | Unit: | cu.m.
Detailed Unit Price Analysis:
A. MATERIALS
DESCRIPTION |  | QUANTITY | UNIT | UNIT COST | AMOUNT
Portland Cement |  | 2251.7547 | bags | 290 | 653008.8595
Sand |  | 94 | cu.m. | 2100 | 197400
Gravel |  | 188 | cu.m. | 2100 | 394800
Water |  | 46.9116 | cu.m. | 0 | 0
Consumables |  | 1 | lot | 10000 | 10000
Total Materials Cost: |  |  |  |  | 1255208.8595
B. EQUIPMENT
DESCRIPTION |  | QTY | RATE/DAY | NO. OF DAYS | AMOUNT
Service Truck with Driver |  | 2 | 2000 | 18.4278 | 73711.2 | 0.0024212
One Bagger Mixer |  | 2 | 1500 | 35 | 105000
Concrete Vibrator |  | 2 | 500 | 35 | 35000
Minor Tools |  | 2 | 200 | 35 | 14000
Total Equipment Cost: |  |  |  |  | 227711.2
C. MANPOWER
DESCRIPTION |  | QTY | RATE/DAY | NO. OF DAYS | AMOUNT
Foreman |  | 1 | 750 | 35 | 26250
Skilled Labor |  | 6 | 600 | 35 | 126000
Unskilled Labor |  | 6 | 450 | 35 | 94500
Total Manpower Cost: |  |  |  |  | 246750
TOTAL DIRECT COST (A+B+C): |  |  |  |  | 1729670.0595
D. Mobilization/Demobilization |  |  | 1% | of Direct Cost | 17296.7006
E. Overhead, Miscellaneous & Contingencies (OCM) |  |  | 12% | of Direct Cost | 207560.4071
F. Contractor's Profit |  |  | 8% | of Direct Cost | 138373.6048
G. VAT |  |  | 5% | of (DC+OCM+CP) | 103780.2036
TOTAL INDIRECT COST: |  |  |  |  | 467010.9161
TOTAL CONSTRUCTION COST: |  |  |  |  | 2196680.9756
Unit Cost: |  |  |  |  | 11706.5024 | 11706.5
Detailed Quantity Calculations:
Item No. | Description | No. of Units | No. of Sets | Length | Width/Area | Height/ Thickness | %Waste | Qty | Unit
0 | Concrete Works
0 | Cast-in-place Concrete (3000 psi) for Footing, Columns & Beams | [6 empty] | 187.6462 | cu.m.
a. | Footing | 8 | 2 | 1.8 | 1.8 | 0.37 | 1.03 | 19.7562 | cu.m.
b. | Column1(above FFL) | 16 | 2 | 0.3 | 0.3 | 3 | 1.03 | 8.8992 | cu.m.
c. | Column2 (below FFL) | 8 | 3 | 0.3 | 0.3 | 5 | 1.03 | 11.124 | cu.m.
d. | Beams
c.1 | 2B1
| Grid 2- F to G | 1 | 4 | 0.25 | 0.5 | 6.5 | 1.03 | 3.3475 | cu.m.
| Grid E-F | 2 | 4 | 0.3 | 0.6 | 4.02 | 1.03 | 5.9625 | cu.m.
| Grid F-G | 2 | 4 | 0.3 | 0.6 | 4.11 | 1.03 | 6.096 | cu.m.
| Grid G-H | 2 | 4 | 0.3 | 0.6 | 6.5 | 1.03 | 9.6408 | cu.m.
c.2 | 2B2
| Grid E | 2 | 2 | 0.25 | 0.5 | 1.5 | 1.03 | 0.7725 | cu.m.
| Grid F | 2 | 2 | 0.25 | 0.5 | 1.5 | 1.03 | 0.7725 | cu.m.
| Grid G | 2 | 2 | 0.25 | 0.5 | 1.5 | 1.03 | 0.7725 | cu.m.
| Grid H | 2 | 2 | 0.25 | 0.5 | 1.5 | 1.03 | 0.7725 | cu.m.
| Grid 2-G | 1 | 2 | 0.25 | 0.5 | 8.55 | 1.03 | 2.2016 | cu.m.
| Grid 2-H | 1 | 2 | 0.25 | 0.5 | 8.55 | 1.03 | 2.2016 | cu.m.
d. | Restoration of Demolished Areas
d.1 | Hallway | 1 | 1 | 15.5 | 1.5 | 0.15 | 1.03 | 3.5921 | cu.m.
d.2 | Columns | 4 | 10 | 1.8 | 1.8 | 0.3 | 1.03 | 40.0464 | cu.m.
d.3 | Suspended Slab | 1 | 1 | 30.13 | 11.55 | 0.2 | 1.03 | 71.6883 | cu.m.

## IV.3
Project Name: | Proposed /Construction of Adidtional Footing/ Column & Beam for Archbishop's Palace
Location: | D. Jakosalem St., Cebu City
Item No.: | 0
Item of Works: | Concrete Works
Sub-Item No.: | 0
Sub-Item of Works: | Plastering
Quatity: | 208.9752 | Unit: | sq.m.
Detailed Unit Price Analysis:
A. MATERIALS
DESCRIPTION |  | QUANTITY | UNIT | UNIT COST | AMOUNT
Cement |  | 251 | bags | 270 | 67770
Sand |  | 21 | cu.m. | 2100 | 44100
Water |  | 52.2438 | cu.m. | 0 | 0
Consumables |  | 1 | lot | 2000 | 2000
Total Materials Cost: |  |  |  |  | 113870
B. EQUIPMENT
DESCRIPTION |  | QTY | RATE/DAY | NO. OF DAYS | AMOUNT
Service Truck with Driver |  | 1 | 2000 | 4.585 | 9170 | 0.0048791
Minor Tools |  | 2 | 200 | 2 | 800
Total Equipment Cost: |  |  |  |  | 9970
C. MANPOWER
DESCRIPTION |  | QTY | RATE/DAY | NO. OF DAYS | AMOUNT
Foreman |  | 1 | 750 | 17.4146 | 13060.95
Skilled Labor |  | 4 | 600 | 17.4146 | 41795.04
Unskilled Labor |  | 4 | 450 | 17.4146 | 31346.28
Total Manpower Cost: |  |  |  |  | 86202.27
TOTAL DIRECT COST (A+B+C): |  |  |  |  | 210042.27
D. Mobilization/Demobilization |  |  | 1% | of Direct Cost | 2100.4227
E. Overhead, Miscellaneous & Contingencies (OCM) |  |  | 12% | of Direct Cost | 25205.0724
F. Contractor's Profit |  |  | 8% | of Direct Cost | 16803.3816
G. VAT |  |  | 5% | of (DC+OCM+CP) | 12602.5362
TOTAL INDIRECT COST: |  |  |  |  | 56711.4129
TOTAL CONSTRUCTION COST: |  |  |  |  | 266753.6829
Unit Cost: |  |  |  |  | 1276.4849 | 1276.48
Detailed Quantity Calculations:
Item No. | Description | No. of Units | No. of Sets | Length | Width/Area | Height | %Waste | Qty | Unit
0 | Concrete Works
0 | Plastering | [5 empty] | volume | 20.8975 | cu.m.
[8 empty] | 208.9752 | sq.m.
a. | Column | 8 | 8 | 0.3 | 1 | 3 | 1.05 | 60.48 | sq.m.
b. | Beams
b.1 | 2B1
| Grid 2- F to G | 1 | 8 | 0.25 | 1 | 6.5 | 1.05 | 13.65 | sq.m.
| Grid E-F | 2 | 8 | 0.3 | 1 | 4.02 | 1.05 | 20.2608 | sq.m.
| Grid F-G | 2 | 8 | 0.3 | 1 | 4.11 | 1.05 | 20.7144 | sq.m.
| Grid G-H | 2 | 8 | 0.3 | 1 | 6.5 | 1.05 | 32.76 | sq.m.
b.2 | 2B2
| Grid E | 2 | 8 | 0.25 | 1 | 1.5 | 1.05 | 6.3 | sq.m.
| Grid F | 2 | 8 | 0.25 | 1 | 1.5 | 1.05 | 6.3 | sq.m.
| Grid G | 2 | 8 | 0.25 | 1 | 1.5 | 1.05 | 6.3 | sq.m.
| Grid H | 2 | 8 | 0.25 | 1 | 1.5 | 1.05 | 6.3 | sq.m.
| Grid 2-G | 1 | 8 | 0.25 | 1 | 8.55 | 1.05 | 17.955 | sq.m.
| Grid 2-H | 1 | 8 | 0.25 | 1 | 8.55 | 1.05 | 17.955 | sq.m.

## V.1
Project Name: | Proposed /Construction of Adidtional Footing/ Column & Beam for Archbishop's Palace
Location: | D. Jakosalem St., Cebu City
Item No.: | 0
Item of Works: | Architectural Works
Sub-Item No.: | 0
Sub-Item of Works: | Homogenous Tiles 600x600mm/units
Quatity: | 203.6475 | Unit: | sq.m.
Detailed Unit Price Analysis:
A. MATERIALS
DESCRIPTION |  | QUANTITY | UNIT | UNIT COST | AMOUNT
6" CHB |  | 2467 | pcs | 25 | 61675
Cement |  | 115 | bags | 270 | 31050
Sand |  | 10 | cu.m. | 2100 | 21000
Water |  | 2.2798 | cu.m. | 0 | 0
Consumables |  | 1 | lot | 2000 | 2000
Total Materials Cost: |  |  |  |  | 54050
B. EQUIPMENT
DESCRIPTION |  | QTY | RATE/DAY | NO. OF DAYS | AMOUNT
Service Truck with Driver |  | 1 | 2000 | 1 | 2000
Minor Tools |  | 4 | 200 | 4 | 3200
Total Equipment Cost: |  |  |  |  | 5200
C. MANPOWER
DESCRIPTION |  | QTY | RATE/DAY | NO. OF DAYS | AMOUNT
Foreman |  | 1 | 750 | 25.4559 | 19091.9531
Skilled Labor |  | 4 | 600 | 25.4559 | 61094.25
Unskilled Labor |  | 4 | 450 | 25.4559 | 45820.6875
Total Manpower Cost: |  |  |  |  | 126006.8906
TOTAL DIRECT COST (A+B+C): |  |  |  |  | 185256.8906
D. Mobilization/Demobilization |  |  | 1% | of Direct Cost | 1852.5689
E. Overhead, Miscellaneous & Contingencies (OCM) |  |  | 12% | of Direct Cost | 22230.8269
F. Contractor's Profit |  |  | 8% | of Direct Cost | 14820.5513
G. VAT |  |  | 5% | of (DC+OCM+CP) | 11115.4134
TOTAL INDIRECT COST: |  |  |  |  | 50019.3605
TOTAL CONSTRUCTION COST: |  |  |  |  | 235276.2511
Unit Cost: |  |  |  |  | 1155.3113
Detailed Quantity Calculations:
Item No. | Description | No. of Units | No. of Sets | Length | Width/Area | Height | %Waste | Qty | Unit
0 | Architectural Works
0 | Homogenous Tiles 600x600mm/units | Size of 6" CHB | (6"x8"x16") | (152.4mmx203.2mmx406.4mm) |  |  |  | 203.6475 | sq.m.
| Gym Exterior along Grid 1 | 1 | 3 | 6.5 | 1 | 3 | 1.05 | 61.425 | sq.m.
| Gym Exterior along Grid 2 | 1 | 3 | 6.5 | 1 | 3 | 1.05 | 61.425 | sq.m.
| Gym Exterior along Grid H | 1 | 3 | 8.55 | 1 | 3 | 1.05 | 80.7975 | sq.m.
0
| Perimeter | (Thickness of Mortar 0.012mm) | [5 empty] | 64.65 | ln.m.
| Gym Exterior along Grid 1 | 1 | 3 | 6.5 | 1 | 1 | 1 | 19.5 | ln.m.
| Gym Exterior along Grid 2 | 1 | 3 | 6.5 | 1 | 1 | 1 | 19.5 | ln.m.
| Gym Exterior along Grid H | 1 | 3 | 8.55 | 1 | 1 | 1 | 25.65 | ln.m.
[7 empty] | Volume of Mortar in Between CHB Lines: | 1.7181 | cu.m.
[7 empty] | Volume of Mortar in 4 Hollow Cores: | 7.401 | cu.m.
[7 empty] | Total | 9.1191 | cu.m.

## V.2
Project Name: | Proposed /Construction of Adidtional Footing/ Column & Beam for Archbishop's Palace
Location: | D. Jakosalem St., Cebu City
Item No.: | 0
Item of Works: | Architectural Works
Sub-Item No.: | 0
Sub-Item of Works: | Non-slip Tiles Roofdeck and Bath
Quatity: | 269.325 | Unit: | sq.m.
Detailed Unit Price Analysis:
A. MATERIALS
DESCRIPTION |  | QUANTITY | UNIT | UNIT COST | AMOUNT
6" CHB |  | 3262 | pcs | 25 | 81550
Mortar in Between CHB Lines:
Cement |  | 145 | bags | 290 | 42050
Sand |  | 12 | cu.m. | 2100 | 25200
Water |  | 2.8631 | cu.m. | 0 | 0
Consumables |  | 1 | lot | 2000 | 2000
Total Materials Cost: |  |  |  |  | 69250
B. EQUIPMENT
DESCRIPTION |  | QTY | RATE/DAY | NO. OF DAYS | AMOUNT
Service Truck with Driver |  | 1 | 2000 | 1 | 2000
Minor Tools |  | 2 | 200 | 1.93 | 772
Total Equipment Cost: |  |  |  |  | 2772
C. MANPOWER
DESCRIPTION |  | QTY | RATE/DAY | NO. OF DAYS | AMOUNT
Foreman |  | 1 | 750 | 28.35 | 21262.5
Skilled Labor |  | 4 | 600 | 28.35 | 68040
Unskilled Labor |  | 4 | 450 | 28.35 | 51030
Total Manpower Cost: |  |  |  |  | 140332.5
TOTAL DIRECT COST (A+B+C): |  |  |  |  | 212354.5
D. Mobilization/Demobilization |  |  | 1% | of Direct Cost | 2123.545
E. Overhead, Miscellaneous & Contingencies (OCM) |  |  | 12% | of Direct Cost | 25482.54
F. Contractor's Profit |  |  | 8% | of Direct Cost | 16988.36
G. VAT |  |  | 5% | of (DC+OCM+CP) | 12741.27
TOTAL INDIRECT COST: |  |  |  |  | 57335.715
TOTAL CONSTRUCTION COST: |  |  |  |  | 269690.215
Unit Cost: |  |  |  |  | 1001.356 | 1155.3113 | -153.9552
Detailed Quantity Calculations:
Item No. | Description | No. of Units | No. of Sets | Length | Width/Area | Height | %Waste | Qty | Unit
0 | Architectural Works
0 | Non-slip Tiles Roofdeck and Bath | Size of 6" CHB | (6"x8"x16") | (152.4mmx203.2mmx406.4mm) |  |  |  | 269.325 | sq.m.
| Gym Exterior along Grid G | 1 | 10 | 8.55 | 1 | 3 | 1.05 | 269.325 | sq.m.
0
| Perimeter | (Thickness of Mortar 0.012mm) | [5 empty] | 85.5 | ln.m.
| Gym Exterior along Grid G | 1 | 10 | 8.55 | 1 | 1 | 1 | 85.5 | ln.m.
[7 empty] | Volume of Mortar in Between CHB Lines: | 1.6662 | cu.m.
[7 empty] | Volume of Mortar in 4 Hollow Cores: | 9.786 | cu.m.
[7 empty] | Total | 11.4522 | cu.m.

## VI.
Project Name: | Proposed /Construction of Adidtional Footing/ Column & Beam for Archbishop's Palace
Location: | D. Jakosalem St., Cebu City
Item No.: | 0
Item of Works: | Ceiling Works
Quatity: | 202.923 | Unit: | sq.m.
Detailed Unit Price Analysis:
A. MATERIALS
DESCRIPTION |  | QUANTITY | UNIT | UNIT COST | AMOUNT
9mm Thick Gypsum Board |  | 77 | sheets | 386 | 29722
Gypsum Putty |  | 13 | gals | 252 | 3276
Mesh Tape |  | 20 | roll | 72 | 1440
Gyspsum Screw |  | 5200 | pcs | 3 | 15600
Alpha Main Bar |  | 1680 | ln.m. | 24 | 40320
Cross Tee, 4ft |  | 948 | ln.m. | 24 | 22752
Main Tee, 12 ft |  | 804.06 | ln.m. | 36 | 28946.16
Wall Angle, 10 ft |  | 20 | lengths | 60 | 1200
Hangers |  | 561 | lengths | 30 | 16830
Total Materials Cost: |  |  |  |  | 160086.16
B. EQUIPMENT
DESCRIPTION |  | QTY | RATE/DAY | NO. OF DAYS | AMOUNT
Service Truck with Driver |  | 1 | 2000 | 3.2286 | 6457.2 | 0.00014429
Minor Tools |  | 4 | 200 | 4 | 3200
Total Equipment Cost: |  |  |  |  | 9657.2
C. MANPOWER
DESCRIPTION |  | QTY | RATE/DAY | NO. OF DAYS | AMOUNT
Foreman |  | 1 | 750 | 15 | 11250
Skilled Labor |  | 4 | 600 | 15 | 36000
Unskilled Labor |  | 4 | 450 | 15 | 27000
Total Manpower Cost: |  |  |  |  | 74250
TOTAL DIRECT COST (A+B+C): |  |  |  |  | 243993.36
D. Mobilization/Demobilization |  |  | 1% | of Direct Cost | 2439.9336
E. Overhead, Miscellaneous & Contingencies (OCM) |  |  | 12% | of Direct Cost | 29279.2032
F. Contractor's Profit |  |  | 8% | of Direct Cost | 19519.4688
G. VAT |  |  | 5% | of (DC+OCM+CP) | 14639.6016
TOTAL INDIRECT COST: |  |  |  |  | 65878.2072
TOTAL CONSTRUCTION COST: |  |  |  |  | 309871.5672
Unit Cost: |  |  |  |  | 1527.0401 | 1527.04
Detailed Quantity Calculations:
Item No. | Description | No. of Units | No. of Sets | Length | Width/Area | Height | %Waste | Qty | Unit
0 | Ceiling Works | [6 empty] | 202.923 | sq.m.
| Interior | 2 | 1 | 15.5 | 4.77 | 1 | 1.05 | 155.2635 | sq.m.
| Exterior | 2 | 1 | 15.13 | 1.5 | 1 | 1.05 | 47.6595 | sq.m.

## VII.1
Project Name: | Proposed /Construction of Adidtional Footing/ Column & Beam for Archbishop's Palace
Location: | D. Jakosalem St., Cebu City
Item No.: | 0
Item of Works: | Window Works (Jalousie Type)
Sub-Item No.: | 0
Sub-Item of Works: | Installation Labor
Quatity: | 219.605 | Unit: | ln.m.
Detailed Unit Price Analysis:
A. MATERIALS
DESCRIPTION |  | QUANTITY | UNIT | UNIT COST | AMOUNT
50mmx50mmx6mm Angle Bar |  | 14 | lengths | 1422 | 19908
50mmx75mmx1.2mm C-purlins |  | 24 | lengths | 549 | 13176
Welding Rod #6011 |  | 7 | box | 2700 | 18900
Consumables |  | 1 | lot | 2500 | 2500
Total Materials Cost: |  |  |  |  | 54484
B. EQUIPMENT
DESCRIPTION |  | QTY | RATE/DAY | NO. OF DAYS | AMOUNT
Service Truck with Driver |  | 1 | 2000 | 0 | 0
Welding Machine |  | 2 | 1500 | 7 | 21000
Cutting Otfit |  | 1 | 800 | 5 | 4000
Minor Tools |  | 4 | 200 | 4 | 3200
Total Equipment Cost: |  |  |  |  | 28200
C. MANPOWER
DESCRIPTION |  | QTY | RATE/DAY | NO. OF DAYS | AMOUNT
Foreman |  | 1 | 750 | 12 | 9000
Skilled Labor |  | 4 | 600 | 12 | 28800
Unskilled Labor |  | 4 | 450 | 12 | 21600
Total Manpower Cost: |  |  |  |  | 59400
TOTAL DIRECT COST (A+B+C): |  |  |  |  | 142084
D. Mobilization/Demobilization |  |  | 1% | of Direct Cost | 1420.84
E. Overhead, Miscellaneous & Contingencies (OCM) |  |  | 12% | of Direct Cost | 17050.08
F. Contractor's Profit |  |  | 8% | of Direct Cost | 11366.72
G. VAT |  |  | 5% | of (DC+OCM+CP) | 8525.04
TOTAL INDIRECT COST: |  |  |  |  | 38362.68
TOTAL CONSTRUCTION COST: |  |  |  |  | 180446.68
Unit Cost: |  |  |  |  | 821.6875
Detailed Quantity Calculations:
Item No. | Description | No. of Units | No. of Sets | Length | Width/Area | Height | %Waste | Qty | Unit
0 | Window Works (Jalousie Type)
0 | Installation Labor | [6 empty] | 219.605 | ln.m.
a. | 50mmx50mmx6mm Angle Bar | (Exterior Beams) | [5 empty] | 51.8296 | ln.m.
| Top Chord | 8 | 1 | 2.04 | 1 | 1 | 1.03 | 16.8096 | ln.m.
| Bottom Chord | 8 | 1 | 2 | 1 | 1 | 1.03 | 16.48 | ln.m.
| D1 | 8 | 1 | 0.78 | 1 | 1 | 1.03 | 6.4272 | ln.m.
| D2 | 8 | 1 | 0.68 | 1 | 1 | 1.03 | 5.6032 | ln.m.
| Vertical Chord 1 | 8 | 1 | 0.4 | 1 | 1 | 1.03 | 3.296 | ln.m.
| Vertical Chord 2 | 8 | 1 | 0.26 | 1 | 1 | 1.03 | 2.1424 | ln.m.
| Vertical Chord 3 | 8 | 1 | 0.13 | 1 | 1 | 1.03 | 1.0712 | ln.m.
| 50mmx50mmx6mm Angle Bar | (Interior Beam) | [5 empty] | 27.9954 | ln.m.
| Top Chord | 1 | 2 | 4.18 | 1 | 1 | 1.03 | 8.6108 | ln.m.
| Bottom Chord | 1 | 2 | 3.9 | 1 | 1 | 1.03 | 8.034 | ln.m.
| D1 | 1 | 2 | 1.98 | 1 | 1 | 1.03 | 4.0788 | ln.m.
| D2 | 1 | 2 | 1.38 | 1 | 1 | 1.03 | 2.8428 | ln.m.
| Vertical Chord 1 | 1 | 1 | 1.5 | 1 | 1 | 1.03 | 1.545 | ln.m.
| Vertical Chord 2 | 1 | 2 | 0.93 | 1 | 1 | 1.03 | 1.9158 | ln.m.
| Vertical Chord 3 | 1 | 2 | 0.47 | 1 | 1 | 1.03 | 0.9682 | ln.m.
b. | C-Purlins
| 50mmx75mmx1.2mm C-purlins | [6 empty] | 139.78 | ln.m.
| Interior Trusses (Gym) | 2 | 4 | 6.5 | 1 | 1 | 1.03 | 52 | ln.m.
| Exterior Trusses (Hallway) | 2 | 3 | 14.63 | 1 | 1 | 1.03 | 87.78 | ln.m.

## VII.2
Project Name: | Proposed /Construction of Adidtional Footing/ Column & Beam for Archbishop's Palace
Location: | D. Jakosalem St., Cebu City
Item No.: | 0
Item of Works: | Window Works (Jalousie Type)
Sub-Item No.: | 0
Sub-Item of Works: | Doors
Quatity: | 199.2167 | Unit: | sq.m.
Detailed Unit Price Analysis:
A. MATERIALS
DESCRIPTION |  | QUANTITY | UNIT | UNIT COST | AMOUNT
Corrugated G.I. Sheet x 10ft, Guage 22 |  | 40 | sheets | 1150 | 46000
Corrugated G.I. Sheet x 12ft, Guage 22 |  | 40 | sheets | 1265 | 50600
TeckScrew |  | 2000 | pcs | 3 | 6000
Fascia Board |  | 15 | lengths | 485 | 7275
Consumables |  | 1 | lot | 6000 | 6000
Total Materials Cost: |  |  |  |  | 115875
B. EQUIPMENT
DESCRIPTION |  | QTY | RATE/DAY | NO. OF DAYS | AMOUNT
Service Truck with Driver |  | 1 | 2000 | 2 | 4000 | 0.0022432
Minor Tools |  | 2 | 200 | 5 | 2000
Total Equipment Cost: |  |  |  |  | 6000
C. MANPOWER
DESCRIPTION |  | QTY | RATE/DAY | NO. OF DAYS | AMOUNT
Foreman |  | 1 | 750 | 14.4446 | 10833.45
Skilled Labor |  | 5 | 600 | 14.4446 | 43333.8
Unskilled Labor |  | 5 | 450 | 14.4446 | 32500.35
Total Manpower Cost: |  |  |  |  | 86667.6
TOTAL DIRECT COST (A+B+C): |  |  |  |  | 208542.6
D. Mobilization/Demobilization |  |  | 1% | of Direct Cost | 2085.426
E. Overhead, Miscellaneous & Contingencies (OCM) |  |  | 12% | of Direct Cost | 25025.112
F. Contractor's Profit |  |  | 8% | of Direct Cost | 16683.408
G. VAT |  |  | 5% | of (DC+OCM+CP) | 12512.556
TOTAL INDIRECT COST: |  |  |  |  | 56306.502
TOTAL CONSTRUCTION COST: |  |  |  |  | 264849.102
Unit Cost: |  |  |  |  | 1329.4522 | 1329.45
Detailed Quantity Calculations:
Item No. | Description | No. of Units | No. of Sets | Length | Width/Area | Height | %Waste | Qty | Unit
0 | Window Works (Jalousie Type)
0 | Doors | 2 | 1 | 15.13 | 6.27 | 1 | 1.05 | 199.2167 | sq.m.
| Corrugated G.I. Sheet x 10ft, Guage 22 | 2 | 1 | 15.13 | 1 | 1 | 1.05 | 31.773 | ln.m.
| Corrugated G.I. Sheet x 12ft, Guage 22 | 2 | 1 | 15.13 | 1 | 1 | 1.05 | 31.773 | ln.m.
| Fascia Board | 1 | 1 | 42.8 | 1 | 1 | 1.05 | 44.94 | ln.m.

## VIII.
Project Name: | Proposed /Construction of Adidtional Footing/ Column & Beam for Archbishop's Palace
Location: | D. Jakosalem St., Cebu City
Item No.: | 0
Item of Works: | Painting Works
Quatity: | 1 | Unit: | lot
Detailed Unit Price Analysis:
A. MATERIALS
DESCRIPTION |  | QUANTITY | UNIT | UNIT COST | AMOUNT
Painting (Interior & Exterior Walls) |  | 1 | lot | 300000 | 300000
Total Materials Cost: |  |  |  |  | 300000
B. EQUIPMENT
DESCRIPTION |  | QTY | RATE/DAY | NO. OF DAYS | AMOUNT
Total Equipment Cost: |  |  |  |  | 0
C. MANPOWER
DESCRIPTION |  | QTY | RATE/DAY | NO. OF DAYS | AMOUNT
Total Manpower Cost: |  |  |  |  | 0
TOTAL DIRECT COST (A+B+C): |  |  |  |  | 300000
D. Mobilization/Demobilization |  |  | 1% | of Direct Cost | 3000
E. Overhead, Miscellaneous & Contingencies (OCM) |  |  | 12% | of Direct Cost | 36000
F. Contractor's Profit |  |  | 8% | of Direct Cost | 24000
G. VAT |  |  | 5% | of (DC+OCM+CP) | 18000
TOTAL INDIRECT COST: |  |  |  |  | 81000
TOTAL CONSTRUCTION COST: |  |  |  |  | 381000
Unit Cost: |  |  |  |  | 381000
Detailed Quantity Calculations:
Item No. | Description | No. of Units | No. of Sets | Length | Width/Area | Height | %Waste | Qty | Unit
0 | Painting Works
[8 empty] | 420.0252 | sq.m.
a. | Column | 8 | 8 | 0.3 | 1 | 3 | 1.05 | 60.48 | sq.m.
b. | Beams
b.1 | 2B1
| Grid 2- F to G | 1 | 8 | 0.25 | 1 | 6.5 | 1.05 | 13.65 | sq.m.
| Grid E-F | 2 | 8 | 0.3 | 1 | 4.02 | 1.05 | 20.2608 | sq.m.
| Grid F-G | 2 | 8 | 0.3 | 1 | 4.11 | 1.05 | 20.7144 | sq.m.
| Grid G-H | 2 | 8 | 0.3 | 1 | 6.5 | 1.05 | 32.76 | sq.m.
b.2 | 2B2
| Grid E | 2 | 8 | 0.25 | 1 | 1.5 | 1.05 | 6.3 | sq.m.
| Grid F | 2 | 8 | 0.25 | 1 | 1.5 | 1.05 | 6.3 | sq.m.
| Grid G | 2 | 8 | 0.25 | 1 | 1.5 | 1.05 | 6.3 | sq.m.
| Grid H | 2 | 8 | 0.25 | 1 | 1.5 | 1.05 | 6.3 | sq.m.
| Grid 2-G | 1 | 8 | 0.25 | 1 | 8.55 | 1.05 | 17.955 | sq.m.
| Grid 2-H | 1 | 8 | 0.25 | 1 | 8.55 | 1.05 | 17.955 | sq.m.
c.
| Gym Wall along Grid 1 | 1 | 4 | 6.5 | 1 | 3 | 1.05 | 81.9 | sq.m.
| Gym Wall along Grid 2 | 1 | 4 | 6.5 | 1 | 3 | 1.05 | 81.9 | sq.m.
| Gym Wall along Grid H | 1 | 4 | 8.55 | 1 | 3 | 1.05 | 107.73 | sq.m.

## IX.
Project Name: | Proposed /Construction of Adidtional Footing/ Column & Beam for Archbishop's Palace
Location: | D. Jakosalem St., Cebu City
Item No.: | 0
Item of Works: | Plumbing Works
Quatity: | 1 | Unit: | lot
Detailed Unit Price Analysis:
A. MATERIALS
DESCRIPTION |  | QUANTITY | UNIT | UNIT COST | AMOUNT
0
Plumbing Works:Pipes, Fittings, Fixtures and Other Needed Items (Inclusions of Labor & Equipment Used) |  | 1 | 1 | 0 | 0
0
0
0
Total Materials Cost: |  |  |  |  | 0
B. EQUIPMENT
DESCRIPTION |  | QTY | RATE/DAY | NO. OF DAYS | AMOUNT
Total Equipment Cost: |  |  |  |  | 0
C. MANPOWER
DESCRIPTION |  | QTY | RATE/DAY | NO. OF DAYS | AMOUNT
Total Manpower Cost: |  |  |  |  | 0
TOTAL DIRECT COST (A+B+C): |  |  |  |  | 0
D. Mobilization/Demobilization |  |  | 1% | of Direct Cost | 0
E. Overhead, Miscellaneous & Contingencies (OCM) |  |  | 12% | of Direct Cost | 0
F. Contractor's Profit |  |  | 8% | of Direct Cost | 0
G. VAT |  |  | 5% | of (DC+OCM+CP) | 0
TOTAL INDIRECT COST: |  |  |  |  | 0
TOTAL CONSTRUCTION COST: |  |  |  |  | 0
Unit Cost: |  |  |  |  | 0

## X.
Project Name: | Proposed /Construction of Adidtional Footing/ Column & Beam for Archbishop's Palace
Location: | D. Jakosalem St., Cebu City
Item No.: | 0
Item of Works: | Electrical Works
Quatity: | 1 | Unit: | lot
Detailed Unit Price Analysis:
A. MATERIALS
DESCRIPTION |  | QUANTITY | UNIT | UNIT COST | AMOUNT
0
Electrical Works: Conduits, Fittings, Fixtures and Other Needed Items (Inclusions of Labor & Equipment Used) |  | 1 | 1 | 0 | 0
0
0
0
Total Materials Cost: |  |  |  |  | 0
B. EQUIPMENT
DESCRIPTION |  | QTY | RATE/DAY | NO. OF DAYS | AMOUNT
Total Equipment Cost: |  |  |  |  | 0
C. MANPOWER
DESCRIPTION |  | QTY | RATE/DAY | NO. OF DAYS | AMOUNT
Total Manpower Cost: |  |  |  |  | 0
TOTAL DIRECT COST (A+B+C): |  |  |  |  | 0
D. Mobilization/Demobilization |  |  | 1% | of Direct Cost | 0
E. Overhead, Miscellaneous & Contingencies (OCM) |  |  | 12% | of Direct Cost | 0
F. Contractor's Profit |  |  | 8% | of Direct Cost | 0
G. VAT |  |  | 5% | of (DC+OCM+CP) | 0
TOTAL INDIRECT COST: |  |  |  |  | 0
TOTAL CONSTRUCTION COST: |  |  |  |  | 0
Unit Cost: |  |  |  |  | 0

## XI.
Project Name: | Proposed /Construction of Adidtional Footing/ Column & Beam for Archbishop's Palace
Location: | D. Jakosalem St., Cebu City
Item No.: | 0
Item of Works: | Roofing Works (half only)
Quatity: | 1 | Unit: | lot
Detailed Unit Price Analysis:
A. MATERIALS
DESCRIPTION |  | QUANTITY | UNIT | UNIT COST | AMOUNT
0
Furnitures: Kitchen, Bedrooms & Cabinets |  | 1 | 1 | 250000 | 250000
0
0
0
Total Materials Cost: |  |  |  |  | 250000
B. EQUIPMENT
DESCRIPTION |  | QTY | RATE/DAY | NO. OF DAYS | AMOUNT
Total Equipment Cost: |  |  |  |  | 0
C. MANPOWER
DESCRIPTION |  | QTY | RATE/DAY | NO. OF DAYS | AMOUNT
Total Manpower Cost: |  |  |  |  | 0
TOTAL DIRECT COST (A+B+C): |  |  |  |  | 250000
D. Mobilization/Demobilization |  |  | 1% | of Direct Cost | 2500
E. Overhead, Miscellaneous & Contingencies (OCM) |  |  | 12% | of Direct Cost | 30000
F. Contractor's Profit |  |  | 8% | of Direct Cost | 20000
G. VAT |  |  | 5% | of (DC+OCM+CP) | 15000
TOTAL INDIRECT COST: |  |  |  |  | 67500
TOTAL CONSTRUCTION COST: |  |  |  |  | 317500
Unit Cost: |  |  |  |  | 317500